## Equipment
EQUIP_NO | EQUIP_DESC | LOCATION | MFG | MODEL | SERIAL_NO | INSTALL_DATE | STATUS | CRITICALITY
AHU-KGN-01 | Air Handling Unit | KGN-B02-219 | Norvent Systems | NS-6199R | P52B-57768 | 2007-10-16 | A | H
ELV-SUD-01 | Elevator, Passenger | SUD-B02-129 | Liftech Elevator | LE-8182V | E61S-66293 | 2020-01-12 | A | H
ULF-MCT-01 | Ultra-Low Freezer, -80C | MCT-B03-290 | CryoNorth Scientific | CS-8722G | R36X-79517 | 2002-07-06 | A | C
EWS-KAM-01 | Emergency Eyewash and Shower Station | KAM-B03-332 | Guardian Fire Systems | GF-7990V | L15T-33577 | 2014-01-28 | I | C
AHU-REG-01 | Air Handling Unit | REG-B04-352 | Norvent Systems | NS-2404M | B93X-38705 | 2009-10-28 | A | H
FAP-KGN-01 | Fire Alarm Control Panel | KGN-B02-253 | Guardian Fire Systems | GF-5314E | T60B-48006 | 2014-02-05 | A | C
RFR-SUD-01 | Laboratory Refrigerator | SUD-B01-386 | CryoNorth Scientific | CS-3577D | Y90V-12167 | 2007-01-28 | A | M
CLD-MCT-01 | Walk-In Cold Room | MCT-B02-108 | CryoNorth Scientific | CS-1490R | N66D-40811 | 2003-10-27 | A | H
CHL-KAM-01 | Chiller, Centrifugal | KAM-B01-238 | ThermaCore Industries | TI-168D | T34W-25195 | 2002-02-08 | I | C
FAP-REG-01 | Fire Alarm Control Panel | REG-B01-152 | Guardian Fire Systems | GF-896T | W58G-80620 | 2022-10-27 | A | C
INC-KGN-01 | CO2 Incubator | KGN-B04-398 | Apex Labware | AL-128L | V74M-82334 | 2000-06-10 | A | H
EXF-SUD-01 | Exhaust Fan, Laboratory | SUD-B01-211 | Northline Mechanical | NM-8912G | E87S-30652 | 2001-03-12 | A | H
BLR-MCT-01 | Boiler, Hot Water | MCT-B04-237 | Northline Mechanical | NM-2672A | L57Y-82158 | 2007-05-13 | A | H
SPR-KAM-01 | Sprinkler System, Wet Pipe | KAM-B01-194 | Guardian Fire Systems | GF-395P | P27C-64033 | 2000-06-21 | A | C
INC-REG-01 | CO2 Incubator | REG-B01-230 | BioSafe Laboratories | BL-9195V | E47H-48899 | 2003-01-22 | A | H
GLW-KGN-01 | Glassware Washer | KGN-B03-117 | BioSafe Laboratories | BL-3676H | R65F-58205 | 2002-09-04 | A | M
CTW-SUD-01 | Cooling Tower | SUD-B02-337 | Ventura Air | VA-2438A | W44K-68438 | 2011-03-19 | A | H
BLR-MCT-01 | Boiler, Hot Water | MCT-B01-187 | Northline Mechanical | NM-2672A | G68B-47326 | 2019-04-28 | A | H
CTF-KAM-01 | Centrifuge, Floor Model | KAM-B04-243 | Sterilix Medical | SM-8994L | Y85Z-91409 | 2005-06-09 | A | M
GLW-REG-01 | Glassware Washer | REG-B02-374 | BioSafe Laboratories | BL-7997K | B78P-71207 | 2013-07-02 | A | M
GEN-KGN-01 | Emergency Generator, Diesel | KGN-B04-191 | Hydrotec Controls | HC-6624C | D40L-49945 | 2013-03-19 | A | C
AUT-SUD-01 | Autoclave, Steam Sterilizer | SUD-B02-304 | Apex Labware | AL-9575H | K51C-67217 | 2017-07-23 | D | C
WPS-MCT-01 | Water Purification System, RO/DI | MCT-B04-231 | PureStream Water | PW-6901G | S25C-79053 | 2009-12-29 | A | H
LN2-KAM-01 | Liquid Nitrogen Storage Vessel | KAM-B04-128 | ChillWell Refrigeration | CR-6508P | E67J-67498 | 2016-05-15 | A | C
GEN-REG-01 | Emergency Generator, Diesel | REG-B04-109 | Vantage Power Group | VP-2911T | V15T-81779 | 2003-12-06 | A | C
FMH-KGN-01 | Fume Hood, Bench Mounted | KGN-B01-151 | BioSafe Laboratories | BL-8067B | P25M-13130 | 1999-12-29 | A | C
CMP-SUD-01 | Air Compressor, Oil Free | SUD-B02-206 | AeroFlow Systems | AS-8905M | M60R-21571 | 2007-07-02 | A | H
HFU-MCT-01 | HEPA Filtration Unit | MCT-B01-127 | Norvent Systems | NS-1670E | T87Y-27128 | 2023-08-10 | A | H
UPS-KAM-01 | Uninterruptible Power Supply | KAM-B02-200 | Hydrotec Controls | HC-1772P | E99K-51053 | 2006-05-29 | A | C
FMH-REG-01 | Fume Hood, Bench Mounted | REG-B04-153 | Apex Labware | AL-1998G | S93L-79726 | 2014-09-30 | A | C
VAC-KGN-01 | Vacuum Pump, Central | KGN-B01-183 | AeroFlow Systems | AS-515G | P85X-46636 | 2015-10-29 | I | H
DHU-SUD-01 | Dehumidifier, Industrial | SUD-B01-165 | Norvent Systems | NS-3689X | H11A-47882 | 15/03/2022 | D | L
ATS-MCT-01 | Automatic Transfer Switch | MCT-B01-262 | Vantage Power Group | VP-2080A | Z48Z-24342 | 2018-09-09 | A | C
BSC-KAM-01 | Biosafety Cabinet, Class II A2 | KAM-B03-199 | Apex Labware | AL-2971V | Y79W-97855 | 2018-04-21 | A | C
VAC-REG-01 | Vacuum Pump, Central | REG-B01-251 | AeroFlow Systems | AS-3867G | L95Z-67438 | 2020-08-06 | A | H
AHU-KGN-02 | Air Handling Unit | KGN-B01-165 | Northline Mechanical | NM-7966S | F86Z-44448 | 2007-05-04 | D | H
ELV-SUD-02 | Elevator, Passenger | SUD-B03-240 | Liftech Elevator | LE-2868G | V68N-19400 | 2001-09-02 | A | H
ULF-MCT-02 | Ultra-Low Freezer, -80C | MCT-B04-300 | CryoNorth Scientific | CS-2481M | W19G-50607 | 2021-02-04 | A | C
EWS-KAM-02 | Emergency Eyewash and Shower Station | KAM-B03-165 | Guardian Fire Systems | GF-7946P | P13Z-93382 | 2002-06-09 | A | C
AHU-REG-02 | Air Handling Unit | REG-B03-279 | Northline Mechanical | NM-3687C | D29Y-90566 | 2022-06-18 | A | H
FAP-KGN-02 | Fire Alarm Control Panel | KGN-B03-243 | Guardian Fire Systems | GF-6157E | W23C-26070 | 2021-12-11 | I | C
RFR-SUD-02 | Laboratory Refrigerator | SUD-B04-247 | ChillWell Refrigeration | CR-6150L | E26W-21350 | 2022-06-11 | A | M
CLD-MCT-02 | Walk-In Cold Room | MCT-B03-348 | ChillWell Refrigeration | CR-150G | W46F-66199 | 2015-08-24 | A | H
CHL-KAM-02 | Chiller, Centrifugal | KAM-B02-267 | ChillWell Refrigeration | CR-8165D | X77F-59342 | 2002-04-08 | D | C
FAP-REG-02 | Fire Alarm Control Panel | REG-B01-300 | Guardian Fire Systems | GF-9229D | T85F-65538 | 2011-10-08 | A | C
INC-KGN-02 |  | KGN-B02-293 | Apex Labware | AL-5785X | H89A-80052 | 2006-12-31 | A | H
EXF-SUD-02 | Exhaust Fan, Laboratory | SUD-B01-104 | Norvent Systems | NS-6288E | G81W-46613 | 2017-04-01 | A | H
BLR-MCT-02 | Boiler, Hot Water | MCT-B02-283 | Norvent Systems | NS-9028T | A27N-72316 | 2016-12-14 | A | H
SPR-KAM-02 | Sprinkler System, Wet Pipe | KAM-B01-189 | Guardian Fire Systems | GF-2490V | D55K-78990 | 2001-10-19 | A | C
INC-REG-02 | CO2 Incubator | REG-B01-355 | Sterilix Medical | SM-1150P | E46J-64616 | 2006-12-02 | A | H
GLW-KGN-02 | Glassware Washer | KGN-B02-322 | Apex Labware | AL-8912F | R61A-36113 | 2016-08-26 | A | M
CTW-SUD-02 | Cooling Tower | SUD-B02-207 | Ventura Air | VA-2762T | F43N-71043 | 2025-07-10 | I | H
ATS-MCT-01 | Automatic Transfer Switch | MCT-B01-264 | Vantage Power Group | VP-2080A | L94Z-61994 | 2002-05-21 | A | C
CTF-KAM-02 | Centrifuge, Floor Model | KAM-B01-154 | Apex Labware | AL-7334C | F45S-72580 | 2015-12-05 | A | M
GLW-REG-02 | Glassware Washer | REG-B01-280 | Apex Labware | AL-3357X | Z66T-31260 | 2011-12-25 | A | M
GEN-KGN-02 | Emergency Generator, Diesel | KGN-B01-217 | Hydrotec Controls | HC-4456R | L76N-68759 | 2001-05-28 | A | C
AUT-SUD-02 | Autoclave, Steam Sterilizer | SUD-B02-366 | Apex Labware | AL-4079D | J98B-92572 | 2011-07-01 | A | C
WPS-MCT-02 | Water Purification System, RO/DI | MCT-B03-260 | PureStream Water | PW-3765B | W76D-15386 | 2022-01-09 | D | H
LN2-KAM-02 | Liquid Nitrogen Storage Vessel | KAM-B02-203 | CryoNorth Scientific | CS-2063G | W49H-99991 | 2023-02-23 | A | C
GEN-REG-02 | Emergency Generator, Diesel | REG-B04-379 | Hydrotec Controls | HC-6541D | X42M-48092 | 2012-11-17 | A | C
FMH-KGN-02 | Fume Hood, Bench Mounted | HAL-B01-118 | Apex Labware | AL-8043P | B77T-75832 | 2003-07-19 | A | C
CMP-SUD-02 | Air Compressor, Oil Free | SUD-B02-319 | Ventura Air | VA-7790H | E63P-41758 | 2019-09-14 | A | H
HFU-MCT-02 | HEPA Filtration Unit | MCT-B02-335 | Norvent Systems | NS-6143P | B24D-58924 | 2020-12-06 | A | H
UPS-KAM-02 | Uninterruptible Power Supply | KAM-B01-280 | Vantage Power Group | VP-2220E | R34V-56074 | 2021-09-22 | A | C
FMH-REG-02 | Fume Hood, Bench Mounted | REG-B02-106 | Apex Labware | AL-9363E | F44L-62834 | 2017-08-06 | A | C
VAC-KGN-02 | Vacuum Pump, Central | KGN-B02-300 | ThermaCore Industries | TI-9685E | M89G-50513 | 2012-10-03 | A | H
DHU-SUD-02 | Dehumidifier, Industrial | SUD-B01-252 | Norvent Systems | NS-7764C | D53L-99858 | 2001-11-22 | A | L
ATS-MCT-02 | Automatic Transfer Switch | MCT-B01-376 | Vantage Power Group | VP-2892R | P15C-79933 | 2004-09-29 | A | C
BSC-KAM-02 | Biosafety Cabinet, Class II A2 | KAM-B04-202 | BioSafe Laboratories | BL-1261X | W25J-39921 | 2003-10-23 | A | C
VAC-REG-02 | Vacuum Pump, Central | REG-B04-270 | Northline Mechanical | NM-7095D | M11P-51763 | 2008-05-07 | D | H
AHU-KGN-03 | Air Handling Unit | KGN-B04-373 | Ventura Air | VA-3270S | D21S-13088 | 2022-11-05 | A | H
ELV-SUD-03 | Elevator, Passenger | SUD-B01-106 | Liftech Elevator | LE-6220X | L55C-25745 | 2000-05-24 | A | H
ULF-MCT-03 | Ultra-Low Freezer, -80C | MCT-B04-205 | ChillWell Refrigeration | CR-3760E | A90D-96082 | 2010-11-04 | A | C
EWS-KAM-03 | Emergency Eyewash and Shower Station | KAM-B01-327 | Guardian Fire Systems | GF-2123E | S25S-93695 | 2008-05-22 | A | C
AHU-REG-03 | Air Handling Unit | REG-B03-258 | Norvent Systems | NS-7194A | A28T-29215 | 2010-05-19 | A | H
FAP-KGN-03 | Fire Alarm Control Panel | KGN-B04-302 | Guardian Fire Systems | GF-2481M | S74T-99002 | 2002-02-24 | A | C
RFR-SUD-03 | Laboratory Refrigerator | SUD-B03-103 | ChillWell Refrigeration | CR-5321A | R17V-82175 | 2021-10-28 | A | M
CLD-MCT-03 | Walk-In Cold Room | MCT-B01-296 | CryoNorth Scientific | CS-8913M | G65Z-30251 | 2000-06-03 | A | H
CHL-KAM-03 | Chiller, Centrifugal | KAM-B04-173 | Norvent Systems | NS-3754X | E74T-32003 | 2009-04-29 | A | C
FAP-REG-03 | Fire Alarm Control Panel | REG-B04-120 | Guardian Fire Systems | GF-9650B | H45R-98494 | 2017-03-06 | A | C

## Inventory
STOCK_NO | DESCRIPTION | QTY_ON_HAND | MIN_QTY | UNIT_COST | BIN
FLT-5742 | Air Filter, Pleated MERV 13, 24x24x2 | 8 | 10 | 1378.3 | KGN-B14-05
FLT-1334 | Air Filter, HEPA 99.97% 24x24x12 | 9 | 8 | 29.93 | SUD-D03-09
FLT-8686 | Prefilter, Washable Aluminum Mesh | 9 | 8 | 503.64 | MCT-A02-03
BLT-1395 | V-Belt, A-Section 48 in | 0 | 2 | 168.52 | KAM-D16-05
BLT-9051 | Cogged Belt, BX-Section 60 in | 45 | 20 | 64.68 | REG-C04-06
GSK-8002 | Door Gasket, Autoclave Silicone | 13 | 6 | 75.25 | KGN-B01-04
GSK-1363 | Gasket Kit, Chiller Waterbox | 13 | 3 | 9.23 | SUD-A02-04
GSK-2158 | Door Seal, Cold Room 96 in | 7 | 2 | 149.19 | MCT-B03-01
LMP-1401 | UV Lamp, Biosafety Cabinet 30W | 11 | 12 | 18.7 | KAM-A16-05
LMP-2946 | LED Lamp, Laboratory Troffer 40W | 15 | 10 | 58 | REG-D10-02
SEN-6403 | Temperature Sensor, RTD Pt100 | -4 | 8 | 115.16 | KGN-C11-01
SEN-8080 | Differential Pressure Sensor, 0-2 in WC | 23 | 8 | 109.55 | SUD-B07-02
SEN-2495 | Thermocouple, Type K 12 in Probe | 31 | 8 | 87.42 | MCT-C17-08
SEN-3559 | Airflow Sensor, Fume Hood Monitor | 19 | 2 | 10.14 | KAM-A16-07
VLV-3170 | Solenoid Valve, 3/4 in Brass 120V | 5 | 4 | 23.44 | REG-D01-08
VLV-7167 | Ball Valve, 1 in Stainless | 15 | 3 | 81.89 | KGN-C17-05
VLV-7336 | Check Valve, 2 in Bronze Swing | 31 | 20 | 79.68 | SUD-D18-06
VLV-5469 | Steam Trap, Thermostatic 1/2 in | 12 | 5 | 1402.24 | MCT-B06-02
PMP-1780 | Condensate Pump, 1/50 HP | 19 | 5 | 117.03 | KAM-D01-01
PMP-4234 | Pump Seal Kit, Circulator | 17 | 5 | 46.46 | REG-A01-01
PMP-5962 | Vacuum Pump Oil, 1 L | 15 | 10 | 85.31 | KGN-B06-03
MTR-4352 | Motor Bearing, 6205-2RS | 6 | 5 | 10.53 | SUD-C02-09
MTR-8368 | Drive Coupling, Jaw Type L095 | 32 | 12 | 147.59 | MCT-C05-03
MTR-3122 | Exhaust Fan Motor, 1 HP 208V | 44 | 20 | 89.64 | KAM-A16-07
ELC-1827 | Contactor, 3-Pole 40A 120V Coil | 21 | 4 | 153.08 | REG-D08-06
ELC-7347 | Control Relay, DPDT 24VDC | 28 | 10 | N/A | KGN-C11-05
ELC-1954 | Fuse, Class CC 30A Time Delay | 12 | 2 | 158.74 | SUD-A04-04
ELC-5721 | Battery, Sealed Lead Acid 12V 7Ah | 18 | 12 | 100.41 | MCT-A14-02
ELC-2030 | Damper Actuator, 24V Modulating | 26 | 12 | 103.93 | KAM-B10-07
WTR-2593 | Water Filter Cartridge, 10 in Carbon | 23 | 3 | 894.87 | REG-C13-03
WTR-7426 | RO Membrane Element, 2.5 x 21 in | 20 | 2 | 832.09 | KGN-D12-04
WTR-7528 | DI Resin Cartridge, Mixed Bed | 6 | 5 | 775.4 | SUD-A06-02
WTR-8939 | Backflow Preventer Repair Kit, 1 in | 9 | 4 | 153.36 | MCT-A13-05
FIR-5031 | Sprinkler Head, Pendent 155F | 24 | 8 | 455.57 | KAM-A16-05
FIR-8650 | Smoke Detector, Photoelectric Addressable | 21 | 12 | 162.78 | REG-C17-04
FIR-3450 | Fire Extinguisher, ABC 10 lb | 3 | 3 | 174.18 | KGN-D13-09
MSC-5949 | Refrigerant, R-134a 30 lb Cylinder | 39 | 20 | 186.19 | SUD-D15-09
MSC-8394 | Lubricant Grease, Lithium EP2 14 oz | 14 | 8 | 1254.47 | MCT-B03-08
MSC-8064 | Chart Recorder Paper, 7 Day Circular | 28 | 2 | 316.46 | KAM-D07-08
MSC-2091 | Door Closer, Heavy Duty Surface Mount | 15 | 3 | 37.38 | REG-D11-01

## WorkOrders
WO_NO | EQUIP_NO | WO_TYPE | PRIORITY | DATE_REQUESTED | DATE_DUE | DATE_COMPLETED | STATUS | ASSIGNED_TO | DESCRIPTION
WO-100001 | EWS-KAM-01 | PM | 2 | 2026-02-10 | 2026-09-28 |  | ASSGN | TECH10 | Annual preventive maintenance and performance verification
WO-100002 | CTW-SUD-01 | PM | 2 | 2026-03-24 | 2026-04-23 | 2026-04-22 | COMP | ELEC01 | Semi-annual filter change and belt inspection
WO-100003 | VAC-KGN-01 | PM | 2 | 2025-08-26 | 2026-02-14 |  | WMATL | TECH10 | Monthly lubrication and vibration check
WO-100004 | EXF-SUD-02 | PM | 4 | 2026-01-12 | 2026-01-26 | 2026-01-23 | COMP | TECH07 | Annual preventive maintenance and performance verification
WO-100005 | FMH-KGN-02 | CM | 4 | 2025-11-30 | 2026-09-15 |  | OPEN | ELEC02 | Unit short cycling, investigate and repair
WO-100006 | AHU-REG-03 | CM | 2 | 2025-10-30 | 2026-09-19 |  | WMATL | ELEC03 | Unit short cycling, investigate and repair
WO-100007 | CLD-MCT-01 | PM | 1 | 2025-12-21 | 2026-09-16 |  | OPEN | TECH06 | Coil cleaning and condensate drain flush
WO-100008 | GEN-KGN-01 | PM | 3 | 2025-04-24 | 2026-08-22 |  | OPEN | HVAC04 | Monthly lubrication and vibration check
WO-100009 | ELV-SUD-02 | CAL | 4 | 2025-06-05 | 2026-01-19 |  | INPRG | HVAC01 | Pressure sensor calibration to reference standard
WO-100010 | GLW-KGN-02 | INSP | 2 | 2026-04-17 | 2026-05-17 | 2026-05-18 | COMP | ELEC02 | Monthly visual safety inspection
WO-100011 | FMH-REG-02 | CM | 4 | 2025-07-04 | 2025-08-18 | 2025-08-15 | COMP | ELEC03 | Water leak reported at base of unit
WO-100012 | CHL-KAM-03 | CM | 4 | 2025-09-29 | 2026-09-22 |  | WMATL | TECH10 | Temperature out of range, recalibrate controls and repair
WO-100013 | EXF-SUD-01 | PM | 3 | 2025-05-24 | 2025-08-07 |  | OPEN | ELEC01 | Semi-annual filter change and belt inspection
WO-100014 | FMH-KGN-01 | PM | 2 | 2025-09-12 | 2025-10-03 | 2025-10-04 | COMP | TECH09 | Quarterly preventive maintenance per manufacturer checklist
WO-100015 | FAP-KGN-02 | CM | 4 | 2025-12-26 | 2026-01-09 | 2026-01-04 | COMP | ELEC03 | Unit short cycling, investigate and repair
WO-100016 | GLW-REG-02 | CAL | 3 | 2025-07-07 | 2026-07-17 |  | OPEN | TECH01 | Annual calibration of temperature monitoring
WO-100017 | BSC-KAM-02 | PM | 3 | 2025-10-26 | 2026-09-29 |  | OPEN | TECH02 | Annual preventive maintenance and performance verification
WO-100018 | ULF-MCT-01 | CM | 3 | 2025-12-04 | 2025-12-11 |  | CANC | TECH03 | Temperature out of range, recalibrate controls and repair
WO-100019 | GLW-KGN-01 | PM | 4 | 2025-10-05 | 2026-09-29 |  | OPEN | TECH02 | Quarterly preventive maintenance per manufacturer checklist
WO-100020 | FMH-REG-01 | PM | 4 | 2025-10-31 | 2025-11-03 | 2025-11-04 | COMP | TECH04 | Semi-annual filter change and belt inspection
WO-100021 | INC-KGN-02 | CM | 3 | 2026-07-20 | 2026-08-03 | 2026-08-02 | COMP | TECH10 | Excessive noise and vibration during operation
WO-100022 | AHU-KGN-99 | PM | 2 | 2026-05-05 | 2026-12-09 |  | OPEN | HVAC03 | Annual preventive maintenance and performance verification
WO-100023 | EWS-KAM-03 | CM | 2 | 2025-08-13 | 2026-05-14 |  | INPRG | HVAC04 | Excessive noise and vibration during operation
WO-100024 | RFR-SUD-01 | SAF | 2 | 2025-11-14 | 2025-11-17 | 2025-11-16 | COMP | TECH10 | Eyewash and shower flow test and flush
WO-100025 | GLW-REG-01 | PM | 4 | 2026-04-30 | 2026-05-10 | 2026-05-15 | COMP | TECH09 | Semi-annual filter change and belt inspection
WO-100026 | VAC-REG-01 | CM | 3 | 2026-03-16 | 2026-04-30 | 2026-03-28 | COMP | HVAC01 | Unit short cycling, investigate and repair
WO-100027 | INC-REG-02 | EM | 1 | 2026-06-10 | 2026-06-17 |  | CANC | HVAC04 | Power fault on critical circuit, emergency repair
WO-100028 | UPS-KAM-02 | PM | 3 | 2026-08-22 | 2026-10-25 |  | INPRG | TECH10 | Annual preventive maintenance and performance verification
WO-100029 | CLD-MCT-03 | INSP | 4 | 2026-09-06 | 2026-09-27 | 2026-09-10 | COMP | HVAC01 | Monthly visual safety inspection
WO-100030 | INC-KGN-01 | PM | 3 | 2025-10-01 | 2025-10-08 | 2025-10-10 | COMP | TECH01 | Quarterly preventive maintenance per manufacturer checklist
WO-100031 | GEN-REG-01 | CM | 3 | 2025-09-27 | 2026-09-24 |  | OPEN | TECH04 | Excessive noise and vibration during operation
WO-100032 | AHU-REG-02 | PM | 3 | 2025-09-02 | 2025-09-12 |  | CANC | TECH02 | Semi-annual filter change and belt inspection
WO-100033 | CTF-KAM-02 | PM | 2 | 2026-05-24 | 2026-11-16 |  | INPRG | TECH04 | Annual preventive maintenance and performance verification
WO-100034 | ATS-MCT-02 | PM | 2 | 2026-02-02 | 2026-09-26 |  | INPRG | TECH09 | Monthly lubrication and vibration check
WO-100035 | ELV-SUD-01 | CM | 3 | 2026-06-18 | 2026-06-25 | 2026-06-27 | COMP | TECH07 | Water leak reported at base of unit
WO-100036 | INC-REG-01 | PM | 3 | 2025-10-02 | 2025-11-16 | 2025-11-15 | COMP | TECH12 | Coil cleaning and condensate drain flush
WO-100037 | UPS-KAM-01 | PM | 1 | 2026-04-09 | 2026-04-23 | 2026-04-19 | COMP | TECH07 | Annual preventive maintenance and performance verification
WO-100038 | FAP-REG-02 | SAF | 2 | 2025-11-29 | 2025-12-02 | 2025-12-02 | COMP | TECH10 | Life safety device functional test
WO-100039 | LN2-KAM-02 | PM | 3 | 2025-10-29 | 2025-12-13 | 2025-12-01 | COMP | HVAC04 | Monthly lubrication and vibration check
WO-100040 | ULF-MCT-03 | CAL | 3 | 2026-04-12 | 2026-05-03 | 2026-04-22 | COMP | TECH01 | Annual calibration of temperature monitoring
WO-100041 | FAP-KGN-01 | CM | 2 | 2025-10-17 | 2025-10-24 | 2025-10-29 | COMP | TECH04 | Control panel showing fault code, diagnose and clear
WO-100042 | CTF-KAM-01 | CM | 2 | 2026-01-31 | 2026-03-17 | 2026-03-20 | COMP | CONT01 | Temperature out of range, recalibrate controls and repair
WO-100043 | BSC-KAM-01 | CM | 2 | 2025-12-10 | 12/24/2025 |  | WMATL | TECH05 | Control panel showing fault code, diagnose and clear
WO-100044 | SPR-KAM-02 | CM | 2 | 2026-07-01 | 2026-07-15 | 2026-07-18 | COMP | ELEC02 | Temperature out of range, recalibrate controls and repair
WO-100045 | HFU-MCT-02 | PM | 2 | 2026-02-17 | 2026-11-21 |  | INPRG | TECH03 | Semi-annual filter change and belt inspection
WO-100046 | RFR-SUD-03 | INSP | 3 | 2026-02-11 | 2026-02-14 | 2026-02-16 | COMP | HVAC01 | Monthly visual safety inspection
WO-100047 | FAP-REG-01 | PM | 1 | 2025-11-21 | 2026-09-22 |  | INPRG | TECH06 | Monthly lubrication and vibration check
WO-100048 | LN2-KAM-01 | PM | 3 | 2025-05-27 | 2025-07-11 | 2025-06-09 | COMP | HVAC02 | Semi-annual filter change and belt inspection
WO-100049 | EWS-KAM-02 | INSP | 3 | 2026-04-21 | 2026-04-24 | 2026-04-27 | COMP | HVAC01 | Third party certification inspection
WO-100050 | ATS-MCT-01 | PM | 2 | 2026-07-17 | 2026-11-17 |  | INPRG | TECH06 | Coil cleaning and condensate drain flush
WO-100051 | DHU-SUD-02 | INSP | 3 | 2025-10-31 | 2026-09-27 |  | INPRG | TECH07 | Annual regulatory inspection and certification
WO-100052 | AHU-KGN-01 | PM | 3 | 2026-08-04 | 2026-10-30 |  | OPEN | HVAC03 | Annual preventive maintenance and performance verification
WO-100053 | SPR-KAM-01 | CM | 3 | 2025-05-05 | 2025-06-03 |  | INPRG | TECH07 | Temperature out of range, recalibrate controls and repair
WO-100054 | HFU-MCT-01 | INSP | 3 | 2026-04-30 | 2026-10-18 |  | WMATL | CONT01 | Third party certification inspection
WO-100055 | CLD-MCT-02 | CM | 3 | 2026-01-16 | 2026-01-19 | 2026-01-19 | COMP | ELEC01 | Temperature out of range, recalibrate controls and repair
WO-100056 | AUT-SUD-02 | CAL | 3 | 2026-07-05 | 2026-07-08 | 2026-07-14 | COMP | TECH04 | Pressure sensor calibration to reference standard
WO-100057 | BSC-HAL-01 | PM | 2 | 2025-07-13 | 2026-07-26 |  | WMATL | TECH08 | Semi-annual filter change and belt inspection
WO-100058 | AHU-REG-01 | PM | 4 | 2026-05-14 | 2026-05-21 | 2026-05-21 | COMP | HVAC03 | Quarterly preventive maintenance per manufacturer checklist
WO-100059 | BLR-MCT-01 | CAL | 3 | 2025-05-17 | 2025-06-07 | 2025-05-26 | COMP | TECH07 | Pressure sensor calibration to reference standard
WO-100060 | ATS-MCT-01 | PM | 3 | 2026-04-29 | 2026-10-21 |  | ASSGN | TECH11 | Coil cleaning and condensate drain flush
WO-100061 | BLR-MCT-02 | PM | 2 | 2025-08-27 | 2026-09-28 |  | ASSGN | HVAC01 | Semi-annual filter change and belt inspection
WO-100062 | CMP-SUD-02 | PM | 3 | 2025-11-13 | 2026-09-29 |  | ASSGN | HVAC02 | Semi-annual filter change and belt inspection
WO-100063 | FAP-KGN-03 | PM | 2 | 2025-12-08 | 2026-09-21 |  | ASSGN | ELEC02 | Monthly lubrication and vibration check
WO-100064 | CHL-KAM-01 | INSP | 2 | 2025-10-07 | 2025-10-10 | 2025-10-14 | COMP | TECH07 | Monthly visual safety inspection
WO-100065 | WPS-MCT-01 | PM | 3 | 2026-07-16 | 2026-11-18 |  | ASSGN | HVAC04 | Annual preventive maintenance and performance verification
WO-100066 | ULF-MCT-02 | PM | 3 | 2025-08-28 | 2025-09-11 | 2025-09-12 | COMP | ELEC03 | Coil cleaning and condensate drain flush
WO-100067 | CTW-SUD-02 | PM | 2 | 2026-05-27 | 2026-07-11 | 2026-07-13 | COMP | TECH04 | Coil cleaning and condensate drain flush
WO-100068 | VAC-KGN-02 | PM | 4 | 2025-04-19 | 2026-02-27 |  | OPEN | TECH12 | Coil cleaning and condensate drain flush
WO-100069 | FAP-REG-03 | CAL | 3 | 2025-08-22 | 2025-09-17 |  | OPEN | TECH04 | Airflow calibration and face velocity verification
WO-100070 | BLR-MCT-01 | PM | 3 | 2026-05-11 | 2026-05-25 | 2026-05-27 | COMP | TECH07 | Annual preventive maintenance and performance verification
WO-100071 | CMP-SUD-01 | CM | 3 | 2025-05-15 | 2025-05-29 | 2025-05-23 | COMP | TECH04 | Unit short cycling, investigate and repair
WO-100072 | RFR-SUD-02 | INSP | 3 | 2025-08-11 | 2026-09-08 |  | INPRG | TECH04 | Containment integrity inspection and airflow survey
WO-100073 | GEN-KGN-02 | INSP | 2 | 2026-07-13 | 2026-08-03 | 2026-07-31 | COMP | TECH04 | Third party certification inspection
WO-100074 | AHU-KGN-03 | EM | 1 | 2026-03-08 | 2026-03-11 | 2026-03-10 | COMP | ELEC01 | Complete loss of airflow to containment area
WO-100075 | EWS-KAM-01 | CM | 3 | 2026-05-10 | 2026-05-17 | 2029-06-08 | COMP | TECH08 | Excessive noise and vibration during operation
WO-100076 | CTW-SUD-01 | PM | 3 | 2025-07-10 | 2025-07-17 | 2025-07-13 | COMP | ELEC02 | Annual preventive maintenance and performance verification
WO-100077 | VAC-KGN-01 | INSP | 4 | 2026-05-06 | 2026-10-27 |  | WMATL | HVAC04 | Monthly visual safety inspection
WO-100078 | EXF-SUD-02 | PM | 2 | 2026-03-06 | 2026-12-03 |  | INPRG | HVAC02 | Monthly lubrication and vibration check
WO-100079 | FMH-KGN-02 | PM | 4 | 2025-10-11 | 2025-10-14 | 2025-10-15 | COMP | HVAC02 | Coil cleaning and condensate drain flush
WO-100080 | AHU-REG-03 | PM | 3 | 2026-04-08 | 2026-04-22 | 2026-04-19 | COMP | ELEC03 | Annual preventive maintenance and performance verification
WO-100081 | CLD-MCT-01 | PM | 3 | 2026-03-29 | 2026-04-12 | 2026-04-02 | COMP | TECH10 | Monthly lubrication and vibration check
WO-100082 | GEN-KGN-01 | EM | 1 | 2025-04-10 | 2026-04-06 |  | OPEN | TECH05 | Alarm active, sample storage at risk, emergency response
WO-100083 | ELV-SUD-02 | CM | 3 | 2025-04-13 | 2025-05-13 | 2025-05-01 | COMP | HVAC04 | Temperature out of range, recalibrate controls and repair
WO-100084 | GLW-KGN-02 | INSP | 4 | 2026-03-31 | 2026-04-21 | 2026-04-07 | COMP | ELEC01 | Monthly visual safety inspection
WO-100085 | FMH-REG-02 | PM | 4 | 2026-08-07 | 2026-08-28 | 2026-08-28 | COMP | TECH03 | Semi-annual filter change and belt inspection
WO-100086 | CHL-KAM-03 | PM | 3 | 2025-04-24 | 2026-03-25 |  | WMATL | TECH09 | Monthly lubrication and vibration check
WO-100087 | EXF-SUD-01 | CM | 3 | 2025-07-28 | 2025-08-18 | 2025-08-20 | COMP | TECH01 | Control panel showing fault code, diagnose and clear
WO-100088 | FMH-KGN-01 | SAF | 2 | 2025-11-01 | 2026-09-19 |  | OPEN | TECH10 | Life safety device functional test
WO-100089 | FAP-KGN-02 | PM | 3 | 2025-05-24 | 2025-06-03 | 2025-06-04 | COMP | TECH09 | Quarterly preventive maintenance per manufacturer checklist
WO-100090 | GLW-REG-02 | CM | 3 | 2025-04-13 | 2025-11-26 |  | ASSGN | HVAC01 | Temperature out of range, recalibrate controls and repair
WO-100091 | BSC-KAM-02 | PM | 1 | 2025-07-14 | 2025-07-24 | 2025-07-29 | COMP | HVAC04 | Semi-annual filter change and belt inspection
WO-100092 | ULF-MCT-01 | PM | 4 | 2026-08-29 | 2026-10-13 |  | OPEN | TECH07 | Annual preventive maintenance and performance verification
WO-100093 | GLW-KGN-01 | INSP | 3 | 2025-07-07 | 2025-07-16 |  | ASSGN | TECH06 | Annual regulatory inspection and certification
WO-100094 | FMH-REG-01 | SAF | 2 | 2025-11-14 | 2026-09-24 |  | OPEN | CONT01 | Eyewash and shower flow test and flush
WO-100095 | INC-KGN-02 | CM | 4 | 2025-06-02 | 2026-07-05 |  | ASSGN | TECH07 | Water leak reported at base of unit
WO-100096 | GEN-REG-02 | PM | 3 | 2025-07-31 | 2025-12-11 |  | WMATL | HVAC04 | Quarterly preventive maintenance per manufacturer checklist
WO-100097 | EWS-KAM-03 | CM | 1 | 2025-06-01 | 2026-02-11 |  | ASSGN | TECH12 | Excessive noise and vibration during operation
WO-100098 | RFR-SUD-01 | PM | 4 | 2026-03-08 | 2026-10-08 |  | WMATL | TECH04 | Monthly lubrication and vibration check
WO-100099 | GLW-REG-01 | PM | 3 | 2026-06-07 | 2026-10-07 |  | WMATL | HVAC03 | Annual preventive maintenance and performance verification
WO-100100 | PMP-MCT-07 | CAL | 3 | 2025-04-18 | 2025-05-18 | 2025-05-13 | COMP | ELEC01 | Annual calibration of temperature monitoring
WO-100101 | INC-REG-02 | PM | 2 | 2026-03-08 | 2026-12-03 |  | WMATL | TECH05 | Quarterly preventive maintenance per manufacturer checklist
WO-100102 | UPS-KAM-02 | CM | 2 | 2026-05-11 | 2026-11-20 |  | INPRG | HVAC04 | Excessive noise and vibration during operation
WO-100103 | CLD-MCT-03 | CM | 2 | 2025-06-04 | 2025-06-14 | 2025-06-17 | COMP | HVAC03 | Control panel showing fault code, diagnose and clear
WO-100104 | INC-KGN-01 | CM | 2 | 2026-06-25 | 2026-07-09 | 2026-06-30 | COMP | TECH03 | Control panel showing fault code, diagnose and clear
WO-100105 | GEN-REG-01 | PM | 3 | 2025-08-06 | 2025-11-09 |  | OPEN | ELEC01 | Monthly lubrication and vibration check
WO-100106 | AHU-REG-02 | PM | 3 | 2025-09-14 | 2026-09-27 |  | WMATL | TECH09 | Annual preventive maintenance and performance verification
WO-100107 | CTF-KAM-02 | PM | 1 | 2026-07-01 | 2026-11-12 |  | ASSGN | TECH03 | Annual preventive maintenance and performance verification
WO-100108 | ATS-MCT-02 | PM | 3 | 2026-07-06 | 2026-11-23 |  | OPEN | TECH02 | Coil cleaning and condensate drain flush
WO-100109 | ELV-SUD-01 | INSP | 3 | 2025-05-14 | 2025-06-28 | 2025-05-21 | COMP | TECH07 | Third party certification inspection
WO-100110 | INC-REG-01 | CAL | 3 | 2025-09-30 | 2026-09-14 |  | INPRG | HVAC04 | Pressure sensor calibration to reference standard
WO-100111 | UPS-KAM-01 | PM | 3 | 2025-10-28 | 2025-10-31 | 2025-11-06 | COMP | HVAC04 | Coil cleaning and condensate drain flush
WO-100112 | FAP-REG-02 | CAL | 3 | 2025-08-28 | 2026-09-28 |  | INPRG | TECH03 | Annual calibration of temperature monitoring
WO-100113 | LN2-KAM-02 | PM | 4 | 2025-09-20 | 2025-11-04 | 2025-10-27 | COMP | ELEC03 | Quarterly preventive maintenance per manufacturer checklist
WO-100114 | ULF-MCT-03 | SAF | 2 | 2025-05-21 | 2025-11-13 |  | ASSGN | ELEC01 | Life safety device functional test
WO-100115 | FAP-KGN-01 | PM | 2 | 2026-07-07 | 2026-07-21 | 2026-07-10 | COMP | TECH11 | Semi-annual filter change and belt inspection
WO-100116 | CTF-KAM-01 | PM | 3 | 2026-06-23 | 2026-06-26 | 2026-06-27 | COMP | HVAC01 | Annual preventive maintenance and performance verification
WO-100117 | BSC-KAM-01 | PM | 1 | 2026-06-19 | 2026-07-10 |  | CANC | TECH03 | Semi-annual filter change and belt inspection
WO-100118 | SPR-KAM-02 | CAL | 3 | 2026-05-14 | 2026-05-21 | 2026-05-26 | COMP | TECH02 | Annual calibration of temperature monitoring
WO-100119 | HFU-MCT-02 | CM | 3 | 2026-04-29 | 2026-05-09 |  | CANC | TECH05 | Excessive noise and vibration during operation
WO-100120 | RFR-SUD-03 | CM | 3 | 2026-02-24 | 2026-10-19 |  | WMATL | HVAC02 | Control panel showing fault code, diagnose and clear